# Water Vapor Data Sheet

School Name: _________________________ Study Site ATM-__________________________

Date on which the measurements were taken: _________

Observer names: ______________________________________________________

For Satellite overflights on date of measurements:

Satellite/instrument name: __________ Time of overflight (UT): ________ Max elevation angle (deg): _____

GLOBE/GIFTS Water Vapor Instrument serial number: __________________

Fill in the first five columns of this table and report your data to GLOBE. GLOBE will provide you with calculated values for precipitable water, which you then record in the sixth column.

| Case temperature before taking measurements (multiply voltage reading times 100) |  |  |  |  | ____deg C |
| --- | --- | --- | --- | --- | --- |
| Measurement Number(1) | Local Time(2) (hrs:min:sec) | UT Time(3) (hrs:min:sec) | Maximum Voltage in Sunlight(4) (volts) | Dark Voltage(5) (volts) | Precipitable Water(6) (cm) |
| 1 (IR1) |  |  |  |  |  |
| 1 (IR2) |  |  |  |  |  |
| 2 (IR1) |  |  |  |  |  |
| 2 (IR2) |  |  |  |  |  |
| 3 (IR1) |  |  |  |  |  |
| 3 (IR2) |  |  |  |  |  |
| 4 (IR1) |  |  |  |  |  |
| 4 (IR2) |  |  |  |  |  |
| 5 (IR1) |  |  |  |  |  |
| 5 (IR2) |  |  |  |  |  |
| Case temperature after taking measurements (multiply voltage reading times 100) |  |  |  |  | ____deg C |

(1) At least three sets of measurements are required. 
(2) Ideally, time should be reported to the nearest 15 seconds, using an accurately set timepiece.
(3) Be careful when converting local time to UT.
(4) Always report voltages with 3 digits to the right of the decimal point. For example, 1.773 rather than 1.77.
(5) Enter dark voltage in units of volts, not millivolts. For example, 0.003 V rather than 3 mV.
(6) These values are calculated from your data and provided by GLOBE.

Cloud and contrail conditions (If sky not obscured, check the box for each cloud or contrail type you observe
and check one box for cloud or contrail cover amount.)

| Cloud Type. Cirrus; __. Cirrostratus; __. Cirrocumulus; __. Altostratus; __. Altocumulus; __. Stratus; __. Stratocumulus; __. Cumulus; __. Nimbostratus; __. Cumulonimbus; __. | Cloud Cover (%). No clouds (0%); __. Clear (0% - 10%); __. Isolated (10% - 25%); __. Scattered (25% - 50%); __. Broken (50% - 90%); __. Overcast (90% - 100 %); __. Obscured; __. | Contrail Type. Short-lived; __. Persistent spreading; __. Persistent non-spreading; __. | Contrail Cover (%). 0% - 10%; __. 10% - 25%; __. 25% - 50%; __. >50%; __. |
| --- | --- | --- | --- |

Sky Conditions (Check one box in each table, as appropriate. 
Sky conditions can be checked only if sky not obscured.)

| Sky Color. Deep blue; __. Medium blue; __. Light blue; __. Pale blue; __. Milky; __. | Sky Clarity. Unusually clear; __. Clear; __. Somewhat hazy; __. Very hazy; __. Extremely hazy; __. | Sky obscured by:. Fog; __. Smoke; __. Haze; __. Volcanic ash; __. Dust; __. Sand; __. Marine spray; __. Strong rain; __. Strong snow; __. Blowing snow; __. |
| --- | --- | --- |

Top of Form

Current air temperature:_____ °C 
Source (You must select one.):

| GLOBE Protocol | Online, broadcast, or print source | other thermometer |
| --- | --- | --- |

Relative Humidity: __________ %
Source (You must select one.):

| GLOBE Protocol — hygrometer | GLOBE Protocol — sling psychrometer | Online, broadcast, or print source |
| --- | --- | --- |

If you used a sling psychrometer:     Dry bulb temperature:________ °C     Wet bulb temperature:________ °C 
Note: Current air temperature and dry bulb temperature should be similar.

Barometric pressure (If you leave this blank, GLOBE will calculate it.): _____________ mbar
Reference (If you have entered a value, you must select one of these.):

| Sea level pressure | Station pressure |
| --- | --- |

Source (You must select one.):

| GLOBE Protocol — Calibrated classroom barometer | Online, broadcast, or print source | Let GLOBE calculate it. |
| --- | --- | --- |

Bottom of Form

Comments: Describe conditions that could affect your measurements, such as urban smog, smoke from forest fires, blowing sand, or dust from agricultural activities. 
Also, include air temperature and relative humidity.

____________________________________________________________________________________________

____________________________________________________________________________________________